AquaSonic N56th Rebid Invitation

Bid Date: 08/30/24  					Address: 6929 N 56TH ST., TAMPA, FL 33617

Instruction to Bidders

- Please submit your bid on our AquaSonic bid form. Please include your clarification and exclusion lists separately. Please include in the notes section of the bid form if an item is “included” in a different cell.

- If you would like to schedule a call to go through the plans, please send me an email to request me to set up a call briangoodall@henleycw.com.

- The Architectural Plans supersede the MEP plans. If there is conflicting information, please notify me by email.

- Included in the Bid Folders at the link in the initial email, you will find a folder called “Plan Change Logs”. The 2 forms, found in that folder, call out the items that have changed in 2 different word document. These documents will help you identify the changes and clarifications made since the original set. The Architectural Revision document breaks down all the added scope at the vacuums and what is needed at the LED Video Wall at the Tunnel Entry.

- If you have any RFI requests, please email them to briangoodall@henleycw.com. Please include the page number and detail number where we can find the information in question.

- We welcome all Value Engineering. If you have suggested alternates, please send them as a RFI for an approval to include the savings in your bid. Or submit an additional alternate with the cost savings.

- For the additions at the Vacuum locations, please note the following: GC will install the sleeves for the air and windshield whipper fluid lines shown. The GC will install all the electrical conduit and wiring needed underground. The equipment installer will run all the air and windshield whipper piping through the sleeves and overhead to each vacuum location.

- The leave in place wall panels are by Nuform. The revised quote and scope can be found in the “Nuform Quote” folder. Please note that the GC is responsible for verifying the quote is correct and will be carrying the cost to provide the material in your bid. If you have not installed Nuform panels previously, please include an allowance of $5k to have a representative come and work with you on the installation of the forms. After that you will be certified and no longer need to carry that cost. If you have any questions, you can reach out to Wayne Smith @ 410-726-1470. You can also reach out to Advanced Structures / Marty McGlothlen / 712-577-0488. Marty will be the person working with you onsite to certify you in the installation. He also has information on a kicker system he makes. You are not required to use his system, but he can help guide you in the installation question department. He is also a traveling installer.

- Please note that walls C6, C8 & C12 are pour in place walls and do not use leave in place forms. Wall Type M8 calls for CMU walls and we do not have any on this site, so please disregard.

- Please include one site camera with sharable app or web capabilities. The camera should have 24/7 recording, event recording, hung at a height that the entire site is viewable. Pan, Tilt and zoom options are preferable. This is a requirement for our Builders Risk Policy.

- Builders Risk is by Owner.

- Material Testing is by Owner.

- All light fixtures are by GC except for the lights in the Vacuum Booms. These lights are still installed by the electrician.

- ELECTRICIANS WILL NEED COMPLETE ARCHITECTURAL PLANS TO INCLUDE ALL THE ELECTRICAL! Please tell them to review the responsibility list, it calls out items they need to know about. There is also electrical for items in the notes, on the responsibility list, that are not anywhere else on the plans.

- Electricians need to review the Architectural Plans regarding the work at the Vacuum booms. There are electrical conduits and electrical called out that is not shown on the electrical drawings. Please note that each Vacuum boom has five ¾” conduits carrying electrical for various items except at the last 2 booms on each line that only have 3.

- Please note that the electrical and low voltage conduits will now be roughed into the leave in place forms before pouring. Information on that can be found in the “Electrical Nuform” folder.

- PLUMBERS WILL NEED COMPLETE ARCHITECTURAL PLANS IF THEY WILL BE RUNNING ANY OF THE SLEEVES SHOWN.

- All low voltage and conduit shown in the plans are to be included in your bid. This includes any sleeves for equipment lines, vacuum boom items, cameras, POS, loading stations, etc.

- The LED Video Wall framing and screens are by the Owner. Please note GC is to supply 6 low voltage conduits and 4 dedicated quad outlets.

- Please note that we have changed our trench to be deeper and wider. We have also changed our reclaim settling tanks to 3- 2500 gallon tanks with 1- 1500 gallon oil separator. All this is discussed in the Plan Change Log documents and shown on the plans.

Alternates

Please break out the work for the 2 items below. This work will be contracted with AquaSonic as part of the project contract. We need to track these costs separately. We are splitting the cost of both items with Dollas Tree, who is the 3rd tenant on the property.

- Parc Place Villas Lift Station Upgrade- Please refer to the Alt 1 folder for the complete scope that needs to be included in your number.

- FDOT Turn Lane Scope- Please have your subcontractors break this cost out separately and include the total cost in the alternate section.